## Slide 1: SMART BUILDING
INTERNET OF THINGS

## Slide 2: Building components
Structure
Mechanical
Electrical
IT components
All are managed separately by different entities

## Slide 3: Building Functions
Work areas with well lit
Comfortable temperatures
Safety with fire alarms
Door and physical security Alarms

## Slide 4: SMART BUILDING

## Slide 5: SMART BUILDING

## Slide 6: SMART BUILDING

## Slide 7: Modern Building(IOT)
Deploy sensors throughout the building
Deploy system to provide people occupancy
Intelligent system to monitor and control various parameters (fire, smoke, lighting control ,indoor air quality, energy supply)
Intelligent communication system
Software platforms

## Slide 8: Sensors in Smart Building
Motion detection sensor:
  Tied to video cameras
  To detect crowd occupancy in room
  To switch ON OFF the various devices based on crowd occupancy
HVAC sensors
  Heat, Ventilation and Air conditioning System
Temperature sensors
  Helps Building Management System
  Building Management System (BMS) controls AIR FLOW in the building

## Slide 9: Smart Work Space
Workspace must be provided with
  Sensors
  Occupancy detection
  Floor plan usage
Optimize work space
Efficient use of work space

## Slide 10: BACnet in Smart Building
Building Automation and Control Network Protocol
  Single management handles many operation like :
  HVAC
  Lighting access control
  Fire alarm/Fire detection system
  Various other detection systems
  Provides ETHERNET based communication

## Slide 11: Challenges in Smart Building
Bring all heterogenous systems together
Proper operations of Building Management System
Converge at the network layer
Convergence of IP network
Implementation of Building Automation Control net protocol efficiently
  BACnet/IP allow “things” in the building network to communicate over IP, thus allowing closer consolidation of the building management on a single network
  Devices can communicate with each other